## cost
STATE BANK OF INDIA KOLKATA CIRCLE
NAME OF THE BRANCH |  |  |  | PARULIA BRANCH
S.NO. | Description of the work | Unit | Qty | Rate (Rs) | Amount (Rs)
ELECTRICAL WORK SCHEDULE FOR RE-DESIGN & RENOVATION OF PARULIA BRANCH
1 | Supply & installation of TPN front operated switch disconnecter fuse units complete along with HRC fuses, statutory caution board, earthing etc. by MS legs on wall (L &T/ABB/SIEMENS 3KL)including interconnection with suitable size of copper wire with TPN DB/terminal block/Gland Box |  |  |  | MESBA |  | DEY |  | B&M |  | PTI
| a)63 amp | Nos. | 3 | 3500 | 10500 | 4500 | 13500 | 4499 | 13497 | 6500 | 19500
2 | Supply & fixing of 63 Amp FP ON Load Change over (Front handle)(HPL/Havells EURO/Siemens/L&T/ABB) including interconnection with suitable size of copper. | No. | 1 | 4000 | 4000 | 4500 | 4500 | 5099 | 5099 | 7000 | 7000
3 | Supply & installation of 1.1 KV Grade PVC insulated and sheathed armoured AL cable with GI earth continuity wire by MS bar saddles on wall ( GLOSTER/Havells/NATIONAL/RAJNIGANDHA) a) 4C x 25 sqmm | Mtrs | 60 | 200 | 12000 | 175 | 10500 | 149 | 8940 | 130 | 7800
| b)4C x 16 sq.mm. | Mtrs | 40 | 130 | 5200 | 125 | 5000 | 129 | 5160 | 100 | 4000
4 | End connection of above cable with heavy duty nickle plated brass compression gland crimping type socket insulation tape etc. with all concern. a) 4C x 25 sqmm. | Nos. | 18 | 50 | 900 | 100 | 1800 | 99 | 1782 | 5 | 90
| b)4C x 16 sq.mm. | Nos | 2 | 100 | 200 | 80 | 160 | 99 | 198 | 200 | 400
5 | Supply and installation(Concelaed) of Double door VTPN DB (LEGRAND/SIEMENCE/HAGER/Crabtree) with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63amp ,25KA,4P MCCB b)outgoing - 2 Nos. 32 Amp TP MCB (UPS &ATM) 6 Nos. 32 Amp SP MCB C series Necessary blanking plate as required.(As per IS8828-96Latest) (MAIN DB) | No. | 1 | 15000 | 15000 | 15000 | 15000 | 12999 | 12999 | 10500 | 10500
6 | Supply and installation(Concelaed) of Double door TPN DB (LEGRAND/SIEMENCE/HAGER/Crabtree) with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63 A ,16KA,4P MCB b)outgoing - 9 Nos. 25/32 Amp SP MCB C series necessary blanking plate as required.(As per IS8828-96Latest) ( AC TPN DB) | Nos. | 1 | 9000 | 9000 | 6000 | 6000 | 5789 | 5789 | 9000 | 9000
7 | Supply & installation(concealed) of double door MCB DB with following accessories a)1 No. 32 amp. 100 mA DP RCBO as incomer b)8 Nos. 6 Amps SP MCB Make: Legrand / Siemens/Hager/Crabtree ( 2 LDB for ground 1 LDB for First Floor +2 UPS DB for ground floor ) | Nos. | 5 | 5000 | 25000 | 4000 | 20000 | 4699 | 23495 | 6500 | 32500
| UPS ROOM |  |  |  | 0 |  | 0 |  | 0 |  | 0
8 | Supply and installation(Concelaed) of Double door TPN DB (LEGRAND/SIEMENCE/HAGER/CRABTREE )with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63 A ,16KA,4P MCB C series b)outgoing - 2 Nos. 32 Amp DP MCB C series 2 No. 32 Amp SP MCB C series 2 No 10 Amp SP MCB C series) necessary blanking plate as required.(As per IS8828-96Latest) (SYSTEM ROOM TPN DB) | No. | 1 | 9000 | 9000 | 4000 | 4000 | 5299 | 5299 | 6000 | 6000
9 | Supply & installation of 4 hours automatic power switching controller for AC with electronic timer and manual override facility in 18 SWG CRC box (IP42, SD/code Legrand) . The power controller will be required to regulate cyclic operation of 2 ACs at the interval of 4 hours and should include thefollowing: i) One no.32 Amps. double pole 100 mA sensitivity RCBO MDS Legranda/Merlin Gerlin make. ii) One no. electronic MicroRex time switch QT31 Legranda/Merlin Gerlin/L&T Hager SPDT make with 24 hourprogramming. iii) Two Nos.3 pole A.C contactor with 2 NO contacts Siemens 3TF33 iv)Two Nos.20 Amps. DP MCB C series for 2 Nos. ACs v)Necessary interconnections. vi) 2 Nos 6Amps Piano read type Sw. vii) 2 Nos. LED Indicator | Set | 1 | 15000 | 15000 | 15000 | 15000 | 12999 | 12999 | 16000 | 16000
10 | Supply & fixing on wall industrial Plug & socket DB with hyalm(or ISI approved) cover one 32 Amps industrial socket (P+N+E) but with 32Amps DP MCB (Legrand)duly inter connected. (UPS outgoing & incoming) | Nos. | 4 | 2100 | 8400 | 3600 | 14400 | 2269 | 9076 | 2250 | 9000
11 | Supply and installation change over panel of 16 SWG thickness sheet steel enclosure including the following duly interconnected with 2 nos. 32 A DP OFF load change over switch and distribution in various areas. i) 5 Nos. 25 mm x 6 mm tinned copper bus bars (Ph-2,N-2,E-1) ii) 4 Nos. 32 Amp SPN MCB and 2 Nos. neutral connector and 2 Nos. neutral ( Legrand/Siemence/Hager ) | Nos. | 1 | 10000 | 10000 | 6000 | 6000 | 8299 | 8299 | 10000 | 10000
12 | Distribution wiring(concealed/partly surface) including new point wiring 660 volt grade 3x1.5 sq.mm. (cu) PVC flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 6 Amps Modular Type switch with socket outlets 6 pin, all individual control switch etc. Conduit size & nos of wires in conduit as per code of practice with circuit wiring with (2x2.5 + 1X1.5) sq.mm. copper wire from MCB DB to respective sw board. N.B. (I)Earth & neutral may be looped but from the last point earth & Neutral has to be connected with sw board. (ii)Point wiring should be inclusive of continuous wire length up to the connection block of light fittings/fans. PVC CONDUIT: BEC /NIC/AKG WIRE : FINOLEX/MESCAB/HAVELLS/RRKABLE/Rajanigandha/harash Switch- LEGRAND/ CRABTREE-athena /NW /Hager-insysta |  |  |  | 0 |  | 0 |  | 0 |  | 0
| a) Fluorescent Point | Nos | 40 | 450 | 18000 | 325 | 13000 | 349 | 13960 | 500 | 20000
| b) Light point (one switch control two lights) | Nos. | 15 | 550 | 8250 | 350 | 5250 | 419 | 6285 | 600 | 9000
| c) Fan point/ Exaust fan | Nos | 5 | 250 | 1250 | 350 | 1750 | 399 | 1995 | 500 | 2500
| d) Bracket Fan point with 6 amp 5pin socket | Nos. | 12 | 400 | 4800 | 450 | 5400 | 489 | 5868 | 500 | 6000
| e) Call bell (with supply and fixing call bell)BM,ENTRY,BACK EXIT | Nos | 2 | 800 | 1600 | 500 | 1000 | 499 | 998 | 250 | 500
| f)Board plug point 5 pin 5 Amps. | Nos. | 10 | 300 | 3000 | 200 | 2000 | 189 | 1890 | 400 | 4000
13 | Point wiring with 660 V grade PVC insulated multi stranded copper wire through ISI marked Hevay duty PVC conduit with junction box ,circular box, elbows ,bends, couplers and other accessories concealed ( below the false ceiling) or by chase cutting on wall /floor or on surface by bar saddles : PVC CONDUIT: BEC /NIC/AKG WIRE : FINOLEX/ NATIONAL/ HAVELLS/RRKABLE/ Rajanigandha/MESCAB |  |  |  | 0 |  | 0 |  | 0 |  | 0
| a) 2X2.5 sq mm +1X1.5 sq mm in 20 mm dia conduit (For UPS) | Mtrs. | 300 | 100 | 30000 | 85 | 25500 | 79 | 23700 | 68 | 20400
| b) 2X4 sq mm +1X2.5 sq mm in 20 mm dia conduit (UPS DB /LDB Incoming) | Mtrs. | 300 | 110 | 33000 | 100 | 30000 | 109 | 32700 | 123 | 36900
| c) 2X6 sq mm +1X2.5 sq mm in 20 mm dia conduit (UPS DB /LDB Incoming) | Mtrs. | 12 | 130 | 1560 | 120 | 1440 | 119 | 1428 | 150 | 1800
14 | Supply & installation of MS Flush Metal box with front plate enclosing the following duly interconnected : Make:(Crabtree/Hager/Legrand/NW ) a)2 Nos 16 amp switch with indicator, 2 Nos 6 amps socket outlet, 1 Nos 6/16 amps socket outlet with indicator b) 1 No. mounting box c) 1 No. front plate ( For UPS POWER at DESK) | Sets | 15 | 900 | 13500 | 650 | 9750 | 799 | 11985 | 930 | 13950
15 | Distribution wiring including new point wiring 660 volt grade 2x2.5+1x1.5 sq.mm. (copper ) PVC insulated flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 2x 6 Amps + 2x6 Amps modular type switch and socket ( RAW POWER ) at SWO,BM etc.( Crabtree / Hager /Legrand/ NW ) | Sets | 8 | 700 | 5600 | 600 | 4800 | 869 | 6952 | 1120 | 8960
16 | Distribution wiring including new point wiring 660 volt grade 2x1.5+1x1.5 sq.mm. (copper ) PVC insulated flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 1x 6 Amps + 1x6Amps modular type switch and socket (RAW POWER).(Crabtree /Hager/ Legrand/ NW ) | Sets | 4 | 500 | 2000 | 450 | 1800 | 769 | 3076 | 900 | 3600
17 | Supply & installation of MS Flush metal box with front plate enclosing the following duly interconnected : make:( Crabtree /Legrand/ Hager/NW) a) 1 Nos 16 amp switch & 1 Nos 6/16 amps socket outlet with indicator b) 1 No. mounting box c) 1 No. front plate ( branch and e-Corner both ) | sets | 10 | 600 | 6000 | 450 | 4500 | 439 | 4390 | 600 | 6000
18 | S& F 32 amps DP MCB C series (legrand//siemens/Hager) in ss Box with Hylem cover including interconnection with suitable size of copper wire) this sw will control Raw power | set | 2 | 800 | 1600 | 600 | 1200 | 749 | 1498 | 1000 | 2000
| FANS |  |  |  | 0 |  | 0 |  | 0 |  | 0
19 | S & F Double module Electronics step regulator 80W ( legrand/ /Havels/Philips/Crabtree) | Set | 5 | 600 | 3000 | 400 | 2000 | 549 | 2745 | 200 | 1000
20 | Supply & fixing of the 1200 mm 48") Sweep Ceiling fan (Orient PSPO/crompton greaves/havells) with downward rod(below false ceiling), canopy etc. including of PVC flexible copper wire.(white colour)( High speed) (Warranty Cerificate is necessary)with downward rod, circular boxes, ball sockets, ceiling plates,suitable arm bracket etc. including connection with wire)White colour (WITHOUT REGULATOR) | No. | 5 | 2000 | 10000 | 1600 | 8000 | 1649 | 8245 | 1400 | 7000
21 | Supply & Installation of 12" dia Exaust fan 900 rpm with louver including hole cutting EPC/Crompton) | Nos | 3 | 1900 | 5700 | 2850 | 8550 | 2449 | 7347 | 1000 | 3000
22 | Supply & installation of wall bracket fan 16” dia(Heavy duty/ high speed) Make Bajaj/cropmton greaves/havells/PSPO | Nos. | 15 | 1800 | 27000 | 2200 | 33000 | 2049 | 30735 | 2100 | 31500
| LIGHT FITTINGS |  |  |  | 0 |  | 0 |  | 0 |  | 0
23 | a) Supply & Fixing Philips make 40W LED full glow ( flat diffuser type) LED light fitting, 600x600 suitable for recess mounting,CRCA sheet, asthetic looking, or eqv Philips/Crompton Greaves/ Havells eqv. | Nos. | 17 | 5000 | 85000 | 5500 | 93500 | 4749 | 80733 | 4500 | 76500
| b)S & F Philips make or eqv 12W/13 LED down lighter , down lighter Philips/ Crompton Greaves/ Havells | Nos. | 28 | 1500 | 42000 | 1500 | 42000 | 1499 | 41972 | 1575 | 44100
24 | Supply & installation of the following following fluorescent luminaries and lamps fittings swith downrods circular boxes, ball sockets,ceiling plates etc. including connection with wire |  |  |  | 0 |  | 0 |  | 0 |  | 0
| a) S & F Philips make TMS 122M 2 xTL528W (EBW)including2xTLD28Wlamp. (Canteen/Record/Vault\Locker) or equv./Wipro/CG | Nos | 5 | 1500 | 7500 | 1300 | 6500 | 1289 | 6445 | 950 | 4750
| b) S &F Philips make TMS 122M/128 wit1 xTL5 28W eqv or wipro cantee/toilet/safe room | Nos. | 12 | 1200 | 14400 | 800 | 9600 | 889 | 10668 | 750 | 9000
25 | Supplying and fixing of angular /batten holder with 18 W CFL lamp(Orpat/Philips/Havells) on wall or ceiling with necessary interconnection. | Nos. | 10 | 250 | 2500 | 200 | 2000 | 249 | 2490 | 200 | 2000
| BEMS CONDUIT WIRING ( LOCKER / RECORD ROOM/ STATIONARY) |  |  |  | 0 |  | 0 |  | 0 |  | 0
26 | Point wiring for Branch with 660Vgrade PVC insulated copper wire ( FRLS) 3 x 1.5 sq.mm. in 16 SWG MS conduit (ISI Marked) conduit alongwith conduit accessories circular boxes, MS boxes, 6 Amps Modular type Switch socket outlets 6 pin, all individual control switch etc. Conduit size & nos of wires in conduit as per code of practice with circuit wiring with (2x2.5 +1X1.5) sq.mm. copper wire from MCB DB.) |  |  |  | 0 |  | 0 |  | 0 |  | 0
| a)Fluorescent Point | Nos. | 6 | 800 | 4800 | 500 | 3000 | 569 | 3414 | 600 | 3600
| b)Fan Point | Nos. | 3 | 300 | 900 | 500 | 1500 | 549 | 1647 | 600 | 1800
| c) Board plug point 5 pin 5 Amps. MS Conduit- BEC /NIC/AKG \WIRE FINOLEX/NATIONAL/HAVELLS/RRKABLE/Rajanigandha/harashSwitch- ROMA/LEGRAND Miling/CRABTREE/ | Nos | 2 | 300 | 600 | 200 | 400 | 249 | 498 | 400 | 800
| EARTHING |  |  |  | 0 |  | 0 |  | 0 |  | 0
27 | Earthing as per IE Rules including making of 1 No. earth station with 50 mm dia 3 mts. length GI pipe (Class B) buried at an average depth of 4 mts. below ground level with 7/14 stranded earth lead wire upto earth busbar including providing masonary inspection pit and restoration of surface duly rammed. ( UPS and Supply ) | Nos. | 2 | 3500 | 7000 | 2000 | 4000 | 2019 | 4038 | 2250 | 4500
28 | S&F Tinned copper Earth Bar on insulator (25 mm x6mmx3mm) | Nos. | 2 | 600 | 1200 | 300 | 600 | 299 | 598 | 150 | 300
29 | S&F 2x 2.5 PVC Armored copper Cable for Generator Neutral, CBS, VSAT earthing (From Earth station to 16 Amp VSATsw at system room) National/INCAB/CCI/Gloster/Rajnigandha /Havells)(CONCEALED WHERE NECESSARY) | Mtrs | 70 | 90 | 6300 | 90 | 6300 | 79 | 5530 | 70 | 4900
| OTHER MISCELENEOUS |  |  |  | 0 |  | 0 |  | 0 |  | 0
30 | Supply & fixing RJ-11 telephone socket(legrand/havells/NW) | Nos. | 4 | 300 | 1200 | 150 | 600 | 219 | 876 | 500 | 2000
31 | Supplying and laying and connection of PVC insulated copper conductor of size 2 pair x 0.5 sq.mm.in 20 mm dia heavey duty PVC conduit(ISI marked) | Mtrs | 80 | 60 | 4800 | 40 | 3200 | 49 | 3920 | 40 | 3200
32 | Supply & fixing starter 11-18 amp with plugtop indicator type and socket or eav legrand/crabtree/NW | Nos | 10 | 900 | 9000 | 700 | 7000 | 809 | 8090 | 2000 | 20000
33 | S&F 32 amps DP MCB in MS Box with one no. microrex time switch QT31 and one 2 pole 20 amp contactor. ( for Glow sign) (Legrand / Hager/crabtree) | Nos. | 1 | 4500 | 4500 | 4500 | 4500 | 5349 | 5349 | 4000 | 4000
34 | Supply & fixing 16 amp pug top with indicator socket(legrand/havells/NW/Crabtree) | Nos. | 2 | 900 | 1800 | 105 | 210 | 149 | 298 | 200 | 400
35 | Supply & fixing 3cx2.5 sq.mm. PVC insulated multistrand flexible cable (Gloster/Mescab/National/finolex/Rajnigandha) | Mtrs. | 6 | 50 | 300 | 70 | 420 | 119 | 714 | 60 | 360
36 | Marking & painting of electrical DBs,SFU,and individual circuit in UPS DB,LDB of switch board and UPS power etc. | LS | 1 | 1000 | 1000 | 500 | 500 | 199 | 199 | 500 | 500
37 | Dismantling of Existing light fittings , Fans , old raw power/UPS power switch boards ,old wiring, OFF load switches etc as per requirement. And temporary power arrangement through charging UPSDB and LDB or switchboards for smooth functioning of the branch | LS | 1 | 4000 | 4000 | 500 | 500 | 199 | 199 | 6000 | 6000
| Total amount |  |  |  | 498860 |  | 461130 |  | 456107 |  | 498610
| Service tax. |  |  |  | 18058.732 |  | 0 |  | 0 |  | 16603.713
| Tota amount |  |  |  | 480801.268 |  | 461130 |  | 456107 |  | 482006.287
[9 empty] | Bm |  | Pti
Name Of the Contractor :
Address Of the Contractor :
Contractors license No Valid up to:
Phone No/Mobile No.
Supervisory certificate No. Valid up to:
Service tax Reg. No.
VAT No : |  | PAN NO:
Contractors full signature with date

## Elect work schedule for Kaikhali branch re-design
STATE BANK OF INDIA KOLKATA CIRCLE
NAME OF THE BRANCH |  |  |  | KAIKHALI BRANCH
S.NO. | Description of the work | Unit | Qty | Rate (Rs) | Amount (Rs)
ELECTRICAL WORK SCHEDULE FOR RE-DESIGN & RENOVATION OF KAIKHALI BRANCH
1 | Supply & installation of TPN front operated switch disconnecter fuse units complete along with HRC fuses, statutory caution board, earthing etc. by MS legs on wall (L &T/ABB/SIEMENS 3KL)including interconnection with suitable size of copper wire with TPN DB/terminal block/Gland Box
| a)63 amp | Nos. | 3
2 | Supply & fixing of 63 Amp FP ON Load Change over (Front handle)(HPL/Havells EURO/Siemens/L&T/ABB) including interconnection with suitable size of copper. | No. | 1
3 | Supply & installation of 1.1 KV Grade PVC insulated and sheathed armoured AL cable with GI earth continuity wire by MS bar saddles on wall ( GLOSTER/Havells/NATIONAL/RAJNIGANDHA) a) 4C x 25 sqmm | Mtrs | 60
| b)4C x 16 sq.mm. | Mtrs | 40
4 | End connection of above cable with heavy duty nickle plated brass compression gland crimping type socket insulation tape etc. with all concern. a) 4C x 25 sqmm. | Nos. | 18
| b)4C x 16 sq.mm. | Nos | 2
5 | Supply and installation(Concelaed) of Double door VTPN DB (LEGRAND/SIEMENCE/HAGER/Crabtree) with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63amp ,25KA,4P MCCB b)outgoing - 2 Nos. 32 Amp TP MCB (UPS &ATM) 6 Nos. 32 Amp SP MCB C series Necessary blanking plate as required.(As per IS8828-96Latest) (MAIN DB) | No. | 1
6 | Supply and installation(Concelaed) of Double door TPN DB (LEGRAND/SIEMENCE/HAGER/Crabtree) with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63 A ,16KA,4P MCB b)outgoing - 9 Nos. 25/32 Amp SP MCB C series necessary blanking plate as required.(As per IS8828-96Latest) ( AC TPN DB) | Nos. | 1
7 | Supply & installation(concealed) of double door MCB DB with following accessories a)1 No. 32 amp. 100 mA DP RCBO as incomer b)8 Nos. 6 Amps SP MCB Make: Legrand / Siemens/Hager/Crabtree ( 2 LDB for ground 1 LDB for First Floor +2 UPS DB for ground floor ) | Nos. | 5
UPS ROOM
8 | Supply and installation(Concelaed) of Double door TPN DB (LEGRAND/SIEMENCE/HAGER/CRABTREE )with MCB having breaking capacity of 10 KA. a) incoming- 1 No ... 63 A ,16KA,4P MCB C series b)outgoing - 2 Nos. 32 Amp DP MCB C series 2 No. 32 Amp SP MCB C series 2 No 10 Amp SP MCB C series) necessary blanking plate as required.(As per IS8828-96Latest) (SYSTEM ROOM TPN DB) | No. | 1
9 | Supply & installation of 4 hours automatic power switching controller for AC with electronic timer and manual override facility in 18 SWG CRC box (IP42, SD/code Legrand) . The power controller will be required to regulate cyclic operation of 2 ACs at the interval of 4 hours and should include thefollowing: i) One no.32 Amps. double pole 100 mA sensitivity RCBO MDS Legranda/Merlin Gerlin make. ii) One no. electronic MicroRex time switch QT31 Legranda/Merlin Gerlin/L&T Hager SPDT make with 24 hourprogramming. iii) Two Nos.3 pole A.C contactor with 2 NO contacts Siemens 3TF33 iv)Two Nos.20 Amps. DP MCB C series for 2 Nos. ACs v)Necessary interconnections. vi) 2 Nos 6Amps Piano read type Sw. vii) 2 Nos. LED Indicator | Set | 1
10 | Supply & fixing on wall industrial Plug & socket DB with hyalm(or ISI approved) cover one 32 Amps industrial socket (P+N+E) but with 32Amps DP MCB (Legrand)duly inter connected. (UPS outgoing & incoming) | Nos. | 4
11 | Supply and installation change over panel of 16 SWG thickness sheet steel enclosure including the following duly interconnected with 2 nos. 32 A DP OFF load change over switch and distribution in various areas. i) 5 Nos. 25 mm x 6 mm tinned copper bus bars (Ph-2,N-2,E-1) ii) 4 Nos. 32 Amp SPN MCB and 2 Nos. neutral connector and 2 Nos. neutral ( Legrand/Siemence/Hager ) | Nos. | 1
12 | Distribution wiring(concealed/partly surface) including new point wiring 660 volt grade 3x1.5 sq.mm. (cu) PVC flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 6 Amps Modular Type switch with socket outlets 6 pin, all individual control switch etc. Conduit size & nos of wires in conduit as per code of practice with circuit wiring with (2x2.5 + 1X1.5) sq.mm. copper wire from MCB DB to respective sw board. N.B. (I)Earth & neutral may be looped but from the last point earth & Neutral has to be connected with sw board. (ii)Point wiring should be inclusive of continuous wire length up to the connection block of light fittings/fans. PVC CONDUIT: BEC /NIC/AKG WIRE : FINOLEX/MESCAB/HAVELLS/RRKABLE/Rajanigandha/harash Switch- LEGRAND/ CRABTREE-athena /NW /Hager-insysta
| a) Fluorescent Point | Nos | 40
| b) Light point (one switch control two lights) | Nos. | 15
| c) Fan point/ Exaust fan | Nos | 5
| d) Bracket Fan point with 6 amp 5pin socket | Nos. | 12
| e) Call bell (with supply and fixing call bell)BM,ENTRY,BACK EXIT | Nos | 2
| f)Board plug point 5 pin 5 Amps. | Nos. | 10
13 | Point wiring with 660 V grade PVC insulated multi stranded copper wire through ISI marked Hevay duty PVC conduit with junction box ,circular box, elbows ,bends, couplers and other accessories concealed ( below the false ceiling) or by chase cutting on wall /floor or on surface by bar saddles : PVC CONDUIT: BEC /NIC/AKG WIRE : FINOLEX/ NATIONAL/ HAVELLS/RRKABLE/ Rajanigandha/MESCAB
| a) 2X2.5 sq mm +1X1.5 sq mm in 20 mm dia conduit (For UPS) | Mtrs. | 300
| b) 2X4 sq mm +1X2.5 sq mm in 20 mm dia conduit (UPS DB /LDB Incoming) | Mtrs. | 300
| c) 2X6 sq mm +1X2.5 sq mm in 20 mm dia conduit (UPS DB /LDB Incoming) | Mtrs. | 12
14 | Supply & installation of MS Flush Metal box with front plate enclosing the following duly interconnected : Make:(Crabtree/Hager/Legrand/NW ) a)2 Nos 16 amp switch with indicator, 2 Nos 6 amps socket outlet, 1 Nos 6/16 amps socket outlet with indicator b) 1 No. mounting box c) 1 No. front plate ( For UPS POWER at DESK) | Sets | 15
15 | Distribution wiring including new point wiring 660 volt grade 2x2.5+1x1.5 sq.mm. (copper ) PVC insulated flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 2x 6 Amps + 2x6 Amps modular type switch and socket ( RAW POWER ) at SWO,BM etc.( Crabtree / Hager /Legrand/ NW ) | Sets | 8
16 | Distribution wiring including new point wiring 660 volt grade 2x1.5+1x1.5 sq.mm. (copper ) PVC insulated flexible wire in 20 SWG Rigid PVC (ISI Marked) conduit along with Conduit accessories circular boxes, MS boxes, 1x 6 Amps + 1x6Amps modular type switch and socket (RAW POWER).(Crabtree /Hager/ Legrand/ NW ) | Sets | 4
17 | Supply & installation of MS Flush metal box with front plate enclosing the following duly interconnected : make:( Crabtree /Legrand/ Hager/NW) a) 1 Nos 16 amp switch & 1 Nos 6/16 amps socket outlet with indicator b) 1 No. mounting box c) 1 No. front plate ( branch and e-Corner both ) | sets | 10
18 | S& F 32 amps DP MCB C series (legrand//siemens/Hager) in ss Box with Hylem cover including interconnection with suitable size of copper wire) this sw will control Raw power | set | 2
FANS
19 | S & F Double module Electronics step regulator 80W ( legrand/ /Havels/Philips/Crabtree) | Set | 5
20 | Supply & fixing of the 1200 mm 48") Sweep Ceiling fan (Orient PSPO/crompton greaves/havells) with downward rod(below false ceiling), canopy etc. including of PVC flexible copper wire.(white colour)( High speed) (Warranty Cerificate is necessary)with downward rod, circular boxes, ball sockets, ceiling plates,suitable arm bracket etc. including connection with wire)White colour (WITHOUT REGULATOR) | No. | 5
21 | Supply & Installation of 12" dia Exaust fan 900 rpm with louver including hole cutting EPC/Crompton) | Nos | 3
22 | Supply & installation of wall bracket fan 16” dia(Heavy duty/ high speed) Make Bajaj/cropmton greaves/havells/PSPO | Nos. | 15
LIGHT FITTINGS
23 | a) Supply & Fixing Philips make 40W LED full glow ( flat diffuser type) LED light fitting, 600x600 suitable for recess mounting,CRCA sheet, asthetic looking, or eqv Philips/Crompton Greaves/ Havells eqv. | Nos. | 17
| b)S & F Philips make or eqv 12W/13 LED down lighter , down lighter Philips/ Crompton Greaves/ Havells | Nos. | 28
24 | Supply & installation of the following following fluorescent luminaries and lamps fittings swith downrods circular boxes, ball sockets,ceiling plates etc. including connection with wire
| a) S & F Philips make TMS 122M 2 xTL528W (EBW)including2xTLD28Wlamp. (Canteen/Record/Vault\Locker) or equv./Wipro/CG | Nos | 5
| b) S &F Philips make TMS 122M/128 wit1 xTL5 28W eqv or wipro cantee/toilet/safe room | Nos. | 12
25 | Supplying and fixing of angular /batten holder with 18 W CFL lamp(Orpat/Philips/Havells) on wall or ceiling with necessary interconnection. | Nos. | 10
BEMS CONDUIT WIRING ( LOCKER / RECORD ROOM/ STATIONARY)
26 | Point wiring for Branch with 660Vgrade PVC insulated copper wire ( FRLS) 3 x 1.5 sq.mm. in 16 SWG MS conduit (ISI Marked) conduit alongwith conduit accessories circular boxes, MS boxes, 6 Amps Modular type Switch socket outlets 6 pin, all individual control switch etc. Conduit size & nos of wires in conduit as per code of practice with circuit wiring with (2x2.5 +1X1.5) sq.mm. copper wire from MCB DB.)
| a)Fluorescent Point | Nos. | 6
| b)Fan Point | Nos. | 3
| c) Board plug point 5 pin 5 Amps. MS Conduit- BEC /NIC/AKG \WIRE FINOLEX/NATIONAL/HAVELLS/RRKABLE/Rajanigandha/harashSwitch- ROMA/LEGRAND Miling/CRABTREE/ | Nos | 2
EARTHING
27 | Earthing as per IE Rules including making of 1 No. earth station with 50 mm dia 3 mts. length GI pipe (Class B) buried at an average depth of 4 mts. below ground level with 7/14 stranded earth lead wire upto earth busbar including providing masonary inspection pit and restoration of surface duly rammed. ( UPS and Supply ) | Nos. | 2
28 | S&F Tinned copper Earth Bar on insulator (25 mm x6mmx3mm) | Nos. | 2
29 | S&F 2x 2.5 PVC Armored copper Cable for Generator Neutral, CBS, VSAT earthing (From Earth station to 16 Amp VSATsw at system room) National/INCAB/CCI/Gloster/Rajnigandha /Havells)(CONCEALED WHERE NECESSARY) | Mtrs | 70
OTHER MISCELENEOUS
30 | Supply & fixing RJ-11 telephone socket(legrand/havells/NW) | Nos. | 4
31 | Supplying and laying and connection of PVC insulated copper conductor of size 2 pair x 0.5 sq.mm.in 20 mm dia heavey duty PVC conduit(ISI marked) | Mtrs | 80
32 | Supply & fixing starter 11-18 amp with plugtop indicator type and socket or eav legrand/crabtree/NW | Nos | 10
33 | S&F 32 amps DP MCB in MS Box with one no. microrex time switch QT31 and one 2 pole 20 amp contactor. ( for Glow sign) (Legrand / Hager/crabtree) | Nos. | 1
34 | Supply & fixing 16 amp pug top with indicator socket(legrand/havells/NW/Crabtree) | Nos. | 2
35 | Supply & fixing 3cx2.5 sq.mm. PVC insulated multistrand flexible cable (Gloster/Mescab/National/finolex/Rajnigandha) | Mtrs. | 6
36 | Marking & painting of electrical DBs,SFU,and individual circuit in UPS DB,LDB of switch board and UPS power etc. | LS | 1
37 | Dismantling of Existing light fittings , Fans , old raw power/UPS power switch boards ,old wiring, OFF load switches etc as per requirement. And temporary power arrangement through charging UPSDB and LDB or switchboards for smooth functioning of the branch | LS | 1
Total amount
Service tax@5.25%
Total amount
Name Of the Contractor :
Address Of the Contractor :
Contractors license No Valid up to:
Phone No/Mobile No.
Supervisory certificate No. Valid up to:
Service tax Reg. No.
VAT No : |  | PAN NO:
Contractors full signature with date